## Slide 1: STRATEGY FOR ACCESS TO WATER AND SANITATION SERVICES IN INFORMAL SETTLEMENTS (THE KISUMU EXPERIENCE) PAPER AT AFRICTIES CONFERENCE
By Eng. P. L. OMBOGO
CHIEF EXECUTIVE OFFICER
LAKE VICTORIA SOUTH WATER SERVICES BOARD

## Slide 2: OUTLINE
Introduction
Status of Water and Sanitation Services before the reforms (year 2003)
The Turn around strategy
Water and Sanitation Services to the informal settlements
Delegated Master Operator Model

## Slide 3: INTRODUCTION
Kisumu is located on the shores of Lake Victoria at elevation of 1100m to 1400m above the see level
Kisumu population is estimated at 450,000 but rises to about 600,000 during the day due its strategic commercial position
60% of the population live in informal settlements
The existing water infrastructure only serves 40% of the Town
Sanitation coverage is much less at 23% of the Town
Most of the town is either using septic tanks or pit latrines

## Slide 4: STATUS OF WATER AND SANITATION SERVICES BEFORE THE REFORMS (YEAR 2003)
Department of the Municipal Council of Kisumu
Water production 15,000m3/day against a water demand of 48,000m3/day to 60,000m3/day during the day
High levels of Unaccounted for Water averaging 70%
Old infrastructure prone to frequent breakdowns
Unplanned maintenance
Low revenue Kshs. 10 million to 13 million and low collection efficiency about 60%

## Slide 5: STATUS OF WATER AND SANITATION SERVICES BEFORE THE REFORMS (YEAR 2003)
Unreliable water supply
No attention to the informal settlements thereby creating room for small scale independent services providers
Unreliable quality of water
Lack of customer focus
Broken sewer treatment plants
Unskilled and low enumerated staff with low morale

## Slide 6: THE TURN AROUND STRATEGY
Commenced with the enactment of the Water Act 2002 which provided for the establishment of the following institutions
  Water Services Regulatory Board as the regulator
  Lake Victoria South Water Services Board as the asset developer and manager, and Licensee for contracting and supervising provision of Water Services by Water Service Providers
  Water Service Providers to operate and maintain water and sewerage services.
This provided a legal framework for the establishment of Kisumu Water & Sewerage Company

## Slide 7: THE TURN AROUND STRATEGY
Constitution of the company
  The company has since been established
  The Board of Directors constituted with broad representation from the council, consumers, non governmental organizations and Kenya Association of manufacturers
  The Company has recruited the following core staff from the market- Managing Director, Chief Technical Manager, Chief Human Resource Manager, Audit, Commercial Manager and accountants
  This has improved the image and performance of the company
Development of a Strategic Plan & Business Plan
  The company has since developed a strategic and business plan which clearly spells out the direction the company is moving towards with achievable benchmarks

## Slide 8: THE TURN AROUND STRATEGY
  These performance benchmarks are reflected in the annual performance contract that Lake Victoria South WSB has signed with the Government
Because of the reforms the Board through the Government secured AFD funding to the tune of 20 million Euros for rehabilitation and expansion of the water and sanitation facilities
  1st phase rehabilitation works is already contracted out and work is progressing
  2nd Phase design of the extension works has commenced
It is expected that after the investments there will be available water

## Slide 9: THE TURN AROUND STRATEGY
The benefits realised so far
  Water production increased to about 20,000m3/day
  Improved revenue collection from Kshs. 13 to 15 million per month
  Reduced Unaccounted For Water from 70% to 60%
  Increased access of water to areas for so many years have not received water
  Ring fenced revenue that is being utilised for planned operation and maintenance of water and sewerage facilities
  The company can now attract and retain qualified manpower
  The development of strategic and Business plan
  Improved customer focus

## Slide 10: THE TURN AROUND STRATEGY
The main challenge for the board and KIWASCO is how to make the poor who live in the informal settlement and constitute 60% of the consumers of Kisumu access quality water at affordable rate and to improve on the benefits gained

## Slide 11: WATER AND SANITATION SERIVCES TO INFORMAL SETTLEMENTS
The Board and the Company with the support of WSP Africa have carried out extensive studies on identification and management arrangements for improvement of Water and Sanitation Services to the informal settlements
The study identified amongst others
  Water supply in informal settlements is inadequate, unreliable, of poor quality to some extend, water prices are high, poor sanitation facilities, poor planning of provision of services and unaffordable cost of sanitation services
  Several players already in this sector ( KIWASCO, NGOs, Small Scale Independent Providers and Private Operators

## Slide 12: WATER AND SANITATION SERIVCES TO INFORMAL SETTLEMENTS
To address these gaps the Board is taking the following measures
  Working on modalities of licensing and regulating all the players in the informal settlement to ensure quality and price regulation
  The Board in conjunction with WSP Africa have applied for a grant from GPOBA to support the investment provided by AFD to specially target the informal settlement
  A component of AFD funding is dedicated to improving water and sanitation facilities to the poor

## Slide 13: WATER AND SANITATION SERIVCES TO INFORMAL SETTLEMENTS
The Board has therefore encouraged a partnership that will improve service delivery
To save on Unaccounted For Water in the informal settlements due to illegal connections, vandalism, lack of meters the Board and the company has developed and is implementing a concept named the DELEGATED MASTER OPERATOR MODEL

## Slide 14: DELEGATED MASTER OPERATOR MODEL- Background
Nyalenda is an informal settlement in Kisumu with a population of 50,000
Water was supplied through
  Kiosks
  Individual connections
  Boreholes
  Illegal network sold by owners of individual connections

## Slide 15: DELEGATED MASTER OPERATOR MODEL- Existing Water Supply Situation
Non-Formal Spaghetti Network, illegal connections resulting in leakages and high losses (UFW) faced by utility (KIWASCO).
The poor cannot afford water sold by vendors and use unsafe sources.
Meters stolen / removed by consumers causing problems in metering and billing.
Metered Connections
Illegal Connections
Spaghetti Network
Notes: Explain mobile meters

## Slide 16: DELEGATED MASTER OPERATOR MODEL- Goal of Pilot
Reduce water losses from KIWASCO’s main water supply lines resulting from illegal connections and vandalism
Improve revenue from this segment of customers
Reduce girl child labor
Partner with SIP to extend Water Supply Lines into the informal Settlements and create employment

## Slide 17: DELEGATED MASTER OPERATOR MODEL- Stakeholders and Partners
Lake Victoria South Water Services Board (LVSWSB) – overall responsibility
Social Development Fund (SDF) – donor funding pilot
Kisumu Water and Sewerage Company (KIWASCO) – implementing agency
Water Committee - representing Community
Water and Sanitation Program (WSP) – supporting pilot
Master Operator - private community agent contracted to manage sub network (MO)

## Slide 18
600m
Utility supply lines Bulk supply, metered
Private master operator- secondary branch
Household Meter Chambers
MODEL OF PILOT
Notes: Project reaches 1/5 of the population of Nyalenda or approximately 50,000 people
This a completely new model for extending services into the informal settlement. The utility is subcontracting a private operator to manage the extension of water services into the difficult context of the informal settlements.
Doing so attempts to find away to deal with the constraint of service delivery into the slums.
As opposed to the traditional way of laying network and having the utility managing it.

## Slide 19: DELEGATED MASTER OPERATOR MODEL- Benefits of this model
Reduced UFW and revenue loss for KIWASCO from 70% - 55% and reduced Illegal Connections
Extend water with a lower resource investment from KIWASCO.
Subcontracts management to a local resident Supplying higher quality water to large community at a lower price.
Enhanced image of KIWASCO as socially responsible, reducing girl child labour
Notes: At the time I began to work with KIWASCO the first two lines had been completed, included bulk meter chambers and the bulk meters being stored at the KIWASCO office. The third pipeline was nearly completed and there was a remaining 30 pipes to be laid.

## Slide 20: The Way Forward
Replicate the DELEGATED MASTER OPERATOR MODEL in other informal settlements
Notes: Workshop is scheduled for the 25th of August.

## Slide 21
Thank You