## Sheet1
Technology packages
Solar Pumping
Bill of Quantities
Item | Description | Size | Unit | Qty. | Unit Price | Total Price
1 | Solar Water Pumping
1a | Array |  | ---
1aa | No of solar panels required, following the sizing calculations of the solar system planned |  | piece
1ab | Foundations for Array stand (concrete) |  | m³
1ac | Steel or aluminium construction for Array stand and tilted Panel frame |  | kg
1ad | Electrical cables and fittings to interconnect the panels |  | m
1ae | Fencing and protection of Solar Panels against theft |  | m
1af | Costs for night guard (daily rate) |  | days
1b | Pumps |  | ---
1ba | Centrifugal Pump (DC motor) |  | set
1bb | Electric Controller for starting at low power |  | piece
1bc | Positive Displacement Pump (AC motor) |  | set
1bd | DC - AC Inverter for AC motor |  | piece
1be | Maximal Power Point Tracking (MPPT) equipment |  | piece
1bf | Cables for connecting panels with electric motors, control panel and all additional electronic equipment |  | m
1c | Storage Tank |  | ---
1ca | Storage Tank for pumped water (capacity of 3 to 5 days of total demand) |  | piece
1cb | Additional piping and fittings from pumps to water tank and for drawing water from the tank | GI pipes and fittings (2 ") | m